## Slide 1: PROJECT TITLE Geyser Control with Dry Run Protection
Go, change the world

## Slide 2: TEAM MEMBERS
STUDENT NAME | USN | EMAIL ID
Anwitha Vishwanath | 1RV23ET010 | anwithav.et23@rvce.edu.in
Chinmay Sharma | 1RV23ET016 | chinmaysharma.et23@rvce.edu.in
Harshit Saroha | 1RV23ET019 | harshitsaroha.et23@rvce.edu.in
Nikhilesh Rao | 1RV23ET024 | nikhileshrao.et23@rvce.edu.in
Go, change the world

## Slide 3: INTRODUCTION
Conventional geysers lack automatic safety mechanisms
Risks include dry run damage, overheating, and energy waste
This project introduces a smart system using STM32, P43 sensor, and DS18B20
Web dashboard via Firebase enables remote alerts and monitoring
Go, change the world

## Slide 4: PROBLEM STATEMENT
No inbuilt protection in standard geysers
Manual monitoring increases risks and inefficiency
Need for real-time, automated safety mechanism
Go, change the world

## Slide 5: OBJECTIVES
  Prevent Dry Run Operation: Detect minimum water level using a water level sensor to prevent dry run conditions.
  Automatic Temperature-Based Control: Monitor real-time water temperature using a temperature sensor and switch OFF the geyser once the threshold is reached.
  Geyser On and Off: Simulate the geyser's ON/OFF state using an LED for demonstration purposes.
  Simulate geyser switching using a relay module
  Threshold logic: Implement threshold-based logic in embedded C to automate geyser control without manual intervention.
Go, change the world

## Slide 6: COMPONENTS
Microcontroller: STM32F4
Sensors: P43 (water level), DS18B20 (temperature)
Output: LED (simulated geyser)
Relay Module (controls simulated geyser ON/OFF)
Communication: ESP32 (Wi-Fi), UART,1-Wire,WI-FI
Software: VS Code (Embedded C-HAL), Firebase, HTML for Dashboard
Go, change the world

## Slide 7
Go, change the world
P43
DS18B20
STM32
Relay Module
ESP32
FireBase
Webpage

## Slide 8: METHODOLOGY
Sensor Integration:
  Connect a water level sensor(P43) to detect minimum water presence.
  Connect a temperature sensor(DS18B20) to monitor water temperature.
Signal Processing:
  Use STM32 to read sensor values via GPIO (digital) and ADC (analog).
Control Logic Implementation:
  If water level is low, prevent geyser (LED+relay) from turning ON.
  If temperature exceeds limit, turn OFF geyser (LED+relay)
Simulation Output:
  Use an LED and Relay module to indicate geyser ON/OFF status.
Testing & Validation:
  Verify system response under different water and temperature conditions
Go, change the world

## Slide 9: COMUNICATION PROTOCOLS
P43 → STM32: Digital GPIO
DS18B20 → STM32: 1-Wire protocol
STM32 → ESP32: UART
ESP32 → Firebase: Wi-Fi / HTTP sync
Go, change the world

## Slide 10: EXPECTED OUTCOME
The system successfully prevents geyser operation when water level is below minimum, protecting against dry run.
The temperature sensor accurately monitors water temperature and automatically switches off the geyser (LED) once it crosses the threshold.
The RELAY,LED correctly simulate the ON/OFF state of the geyser based on sensor inputs.
The system demonstrates automated, safe, and efficient geyser control using STM32.
Go, change the world

## Slide 11: CONCLUSION AND RESULTS
Smart geyser system with relay-based control, sensor logic, and remote alerts
Ensures user safety and improves appliance longevity
Future Enhancements:
  Replace simulated geyser with actual heating element
  Add mobile app integration
  Add SMS/email alerts
Go, change the world